FAO [insert name and address]

Also by email: [insert email]

Date: [insert date]

Dear [X]

Project Name: XXXXXXX

Reference: NOTIFICATION NO

FINAL OPERATIONAL NOTIFICATION EFFECTIVE ON AND FROM [XX/XX/XXXX at XX:XX]

[SP Distribution Plc/SP Manweb Plc] (the “Company”) and [Contracting Party Name] (the “Customer”) are parties to a connection offer and a connection agreement with reference [Offer Reference / Agreement Reference] dated [Offer / Agreement Date], as amended from time to time, providing for connection to [Connection Site] substation.

Unless stated otherwise, all defined terms used within this letter shall have the same meaning as stated in Engineering Recommendation G99 (“EREC G99”).

On [Actual ION Issued Date] the Company issued an Interim Operational Notification (the “ION”) in respect of [Project name] which was to remain in effect until [xx/xx/xxxx] (the “Term”). [The Term was extended on xx/xx/xxxx and xx/xx/xxxx to remain in effect until xx/xx/xxxx (the “Extended Term”).] The Unresolved Issues (as defined in the ION) associated with the ION were set out in the schedule of Unresolved Issues attached to the ION. The ION was issued subject to the condition that significant progress be made towards the resolution of the Unresolved Issues and on completion of the [Term / Extended Term], the Company would decide whether to issue a further ION for a fixed period or a Final Operational Notification (“FON”).

By completion of the required tests and submission of the information required in EREC G99 the Customer has notified the Company that the Power Generating Modules or Generating Units in the case of a phased installation, detailed in the schedule attached are compliant with the relevant provisions of EREC G99 on [xx/xx/xxxx]. The Customer may now operate its plant in accordance with the terms of the connection agreement.

This FON is issued without prejudice to the exercise of any rights the Company may have in respect of the disconnection and/or de-energisation of the Customer’s equipment.

Please confirm your acknowledgement of the terms of this notification, and confirm that all relevant staff including sub-contractors have been notified, by signing below and returning a copy to the Company.

Should you require any further information regarding this matter, please do not hesitate to get in contact.

Yours sincerely,

[Name]:

[Signature]:

[Date of Signature]:

[Job Title]:

[E-mail]:

On behalf of [SP Distribution plc / SP Manweb Plc]

Customer Acknowledgement:

[Name]:

[Signature]:

[Date of Signature]:

[Job Title]:

[E-mail]:

On behalf of [Customer]

Schedule of Power Generating Modules or Generating Units in respect of Project name as at [DATE XX/XX/XXXX]

| No. | Power Generating Module Name(s) / identifiers of Generating Unit (s) | Type Of Generating Unit (wound rotor, salient pole) | Date of issue of Power Generating Module Document (Include Phase reference if applicable) |
| --- | --- | --- | --- |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |