## A. Your details
Section A. Your details
Table 0: Legal entities represented in this Tender response
Please declare (by listing) all of the legal entities represented in this tender response. Please use one row per entity.
A
B
C
|  | Entity 'A' | Entity 'B' | Entity 'C'
Table 1: Organisation Details
Please enter your organisation details below
1.1 | Organisation name | 0 | 0 | 0
1.2 | Organisation type
1.3 | Registration / Company Number
1.4 | Organisation address line 1
1.5 | Organisation address line 2
1.6 | Organisation town / city
1.7 | Organisation country
1.8 | Organisation postcode
Table 2: Primary Contact Details
Please enter your primary contact details below
2.1 | Organisation name
2.2 | Primary contact name
2.3 | Primary contact title
2.4 | Primary contact address line 1
2.5 | Primary contact address line 2
2.6 | Primary contact town / city
2.7 | Primary contact country
2.8 | Primary contact postcode
2.9 | Primary contact phone number
2.1 | Primary contact email address
Note on B5: Unless you are bidding as a consortium, we would typically expect Tenders to represent a single legal entity.

## B. Asset register
Section B. Asset Register
Table 3: Asset register
| Asset Reference | Asset Site |  |  | Contact details for asset site |  |  |  | Asset type |  | Asset capacity (kW) | Asset Flexible Capacity (kW) | Asset ramp-up time (minutes) | Ramp-down time (minutes) | Minimum run time (minutes) | Maximum run time (minutes) | Notice period required for SPEN access. (working days) | Which services listed in the FSR's can the asset respond to? |  |  | Is this asset already in-situ? | Is this asset already enabled? | Earliest available commissioning date? (DD/MM/YYYY) | Portfolio Reference
|  | Congestion Point | MPAN related to asset | Specific location of asset | Organisation name | Contact name | Phone number | Email address | Asset 'type' | Asset 'subtype' | [7 empty] | Sustain Peak Management capacity | Secure DSO Constraint Management | Dynamic DSO Constraint Management (Post-Fault)
1 | ___
2 | ___
3 | ___
4 | ___
5 | ___
6 | ___
7 | ___
8 | ___
9 | ___
10 | ___
11 | ___
12 | ___
13 | ___
14 | ___
15 | ___
16 | ___
17 | ___
18 | ___
19 | ___
20 | ___
21 | ___
22 | ___
23 | ___
24 | ___
25 | ___
26 | ___
27 | ___
28 | ___
29 | ___
30 | ___
31 | ___
32 | ___
33 | ___
34 | ___
35 | ___
36 | ___
37 | ___
38 | ___
39 | ___
40 | ___
41 | ___
42 | ___
43 | ___
17 | ___
Note on B4: Each row represents a single discrete asset.
Note on B5: Automatically generated
Note on F5: These details will not be shared with any third parties
Note on J5: Please just populate as best you can.
Note on L5: Rated capacity
Note on N5: For a full definition of this term please refer to Schedule 1 of the the Flexibility Service Agreement (FSA) available within the ITT pack.
Note on O5: For a full definition of this term, please refer to Schedule 1 of the the Flexibility Service Agreement (FSA) available within the ITT pack.
Note on P5: For a full definition of this term, please refer to Schedule 1 of the the Flexibility Service Agreement (FSA) available within the ITT pack.
Note on Q5: For a full definition of this term, please refer to Schedule 1 of the the Flexibility Service Agreement (FSA) available within the ITT pack.
Note on R5: For a full definition of this term, please refer to clause 9.1.9 of the the Flexibility Service Agreement (FSA) available within the ITT pack.
Note on S5: For ease of reference, the contents of the FSR has been reproduced in Appendices 1 to 7 of this ITT repsonse proforma.
Note on V5: i.e. already installed on site?
Note on W5: i.e. are you currently able to remotely control monitor and dispatch this asset?
Note on X5: Please indicate the earlest date* that the enabled asset will be ready for the end-end commissioning tests.
Note on Y5: Instruction: - For each asset in this register, select the portfolio that you would like to assign it to. - You might wish to leave this column blank until you have completed Column C of Table 5 (in Tab C)
Note on C6: Select which congestion point the asset will be responding to: 1. St. Andrews Primary Substation 2. Leuchars Primary Substation 3. St. Andrews 11kV Feeder (18612) 4. St. Andrews 11kV Feeder (18613) 5. St. Andrews 11kV Feeder (18614) 6. St. Andrews 11kV Feeder (18616) 7. St. Andrews 11kV Feeder (18622)
Note on D6: Same MPAN may apply to various assets
Note on E6: In the case of prosumers with various sites / assets (e.g. the university) the more specific detail you can provider here the better please. E.g. Plant room, Gatty Marine Laboratory, University of St Andrews, East Sands, KY16 8LB
Note on F6: E.g. University of St. Andrews
Note on J6: E.g. Generation / Load / Storage etc.
Note on K6: E.g. Generation: - CHP - Wind turbine with battery - etc. Load: - Motor - Heat pump - Resistance heater - etc. Storage: - battery - calorifier - etc.

## C. Commercial
Section C. Commercial offer
Table 4: Preparation & Schedule
Please provide an answer to each of the questions below
| 4.1 | IT readiness: Provided that SPEN contract with your organisation before the end of February 2021, will you be able to provide a demonstration, before end of April 2021, of your end-to-end integration with the DSO platform in accordance with USEF Flexibility Trading Protocol specification by dispatching flexibility as part of the pre-trial tests?
| 4.2 | If not, by when do you estimate that you will be able to do so?
| 4.3 | Please provide a high-level indicative implementation plan from award of the contract to operational stage and the dates associated to it: |  |  | Milestone No. | Description of the milestone |  |  |  |  | Milestone date
1
2
3
4
5
6
7
Table 5: Portfolio details
| Portfolio Reference |  |  | Service Characteristics | [8 empty] | Pricing schedule |  |  |  | Evaluation prices (automatically generated)
| Ref | Prosumer most closely related with portfolio | Location / Congestion Point | Offered Flexible Capacity (kW) |  |  | Unavailability (hours) |  |  | Offered Availability (hours) |  |  | Utilisation Fee Cap (£/kWh) | Discretionary Utilisation Fee Cap (£/kWh) | Availability fee (portfolio-specific) (£) | Availability fee (portfolio-independent) (£) | Total price (£) | kWh offered per portfolio (kWh) | Aggregated unit price (£/kWh) | Unit price per portfolio (£/kWh) | Offered total utilisation duration (h) |  |  | Utilisatiion cost per portfolio (£) | FSR service window (hours) |  |  | Average utilisation duration (h) | Estimated number of utilisations (runs) per service
|  |  |  | Sustain Peak Management | Secure DSO Constraint Management (Pre-Fault) | Dynamic DSO Constraint Management (Post-Fault) | Sustain Peak Management | Secure DSO Constraint Management (Pre-Fault) | Dynamic DSO Constraint Management (Post-Fault) | Sustain Peak Management | Secure DSO Constraint Management (Pre-Fault) | Dynamic DSO Constraint Management (Post-Fault) | Single fee for all services | Single fee for all services | Single fee for all services | Single fee for all portfolios and services |  |  |  |  | Sustain Peak Management | Secure DSO Constraint Management (Pre-Fault) | Dynamic DSO Constraint Management (Post-Fault) |  | Sustain Peak Management | Secure DSO Constraint Management (Pre-Fault) | Dynamic DSO Constraint Management (Post-Fault)
1 | _Portfolio1__ | [8 empty] | 1040 | 650 | 520 |  |  |  |  | 0 | 0 | #DIV/0! | #DIV/0! | 18.75 | 18.75 | 18.75 | 0 | 1040 | 650 | 520 | 0.75 | 25
2 | _Portfolio2__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
3 | _Portfolio3__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
4 | _Portfolio4__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
5 | _Portfolio5__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
6 | _Portfolio6__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
7 | _Portfolio7__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
8 | _Portfolio8__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
9 | _Portfolio9__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
10 | _Portfolio10__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
11 | _Portfolio11__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
12 | _Portfolio12__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
13 | _Portfolio13__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
14 | _Portfolio14__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
15 | _Portfolio15__ | [8 empty] | 1040 | 650 | 520 | [5 empty] | 0 |  | #DIV/0! | 18.75 | 18.75 | 18.75 | 0
Table 6: Detailed unavailability
| Portfolio identifier | Service |  |  |  | Period |  | Day of week | Hours of the day | Total unavailability hours
[6 empty] | Start date | End date
Sustain Peak Management
Secure DSO Constraint Management (Pre-Fault)
Dynamic DSO Constraint Management (Post-Fault)
All
Note on C7: Please provide as much detail as possible. Detail any assumptions and or conditions that accompany your response.
Note on C8: By 'operational stage', we refer to the commencement of your contractual availability period
Note on L8: dd/mm/yy
Note on B18: Each Aggregator must offer 1 or more Portfolios in their ITT repsonse. Here you are invited to list and define those portfolios in your offer. A portfolio typically* corresponds to a Prosumer (e.g. the University). The following conditions hold: – An asset can belong to only one portfolio – All assets within one portfolio should be located behind the same congestion point (primary substation). – The assets of one customer may be: i) combined in one portfolio (preferred), or ii) listed in multiple portfolios – Assets located at different, large (C&I&C) customers should not be combined in one portfolio *The only exception being for residential assets (or similar sized small assets), in which case a single portfolio may represent multiple prosumers. Different Aggregators may include the same assets / Portfolio in their offer. As assets cannot be controlled by multiple Aggregators at the same time, FUSION may pick and choose certain Portfolios from specific Aggregators.
Note on E18: Populate the service chracteristics in light of the specific assets that you include in each portfolio (Column Y, table 3). Where possible, please show your working by deriving your answers using the "=" function.
Note on B19: Automatically generated
Note on C19: This drop-down list will be blank until you populate Column F of Table 3 (Tab B).
Note on D19: Select which congestion point the portfolio will be responding to: 1. St. Andrews Primary Substation 2. Leuchars Primary Substation
Note on E19: The change in capacity of the portfolio relative to a defined baseline level. Please note that the three services are fully stackable, i.e. SPEN will never call more than 1 service at the same time.
Note on H19: Taking the FSR request as your starting point*, please confirm the hours of unavailability. i.e the number of hours that the FSR service window cannot be met. (*see column 'M' in the appendices 1 & 2 of this ITT response proforma). Note that availability is a function not only of the assets but also of the readiness of the aggregator platform, it's UFTP-compliance and its integration into the DSO platform. (Table 6 below solicits further detail on relating to the periods of unavailability).
Note on K19: Automatically populated
Note on N19: Maximum amount payable by SPEN to the Provider for the utilisation of any Flexibility Service. This cost should be expressed in £/kWh.
Note on O19: Maximum amount payable by SPEN to the Provider for the discretionary* utilisation of any Flexibility Service. This cost should be expressed in £/kWh. *Discretionary Utilisaton: A utilisation carried-out during periods that are not Service Periods during the term of the agreement.
Note on P19: Fixed cost for making the flexibility in a particular portfolioavailable. (This will be added to the cost in column 'Q')
Note on Q19: Cost that is not dependent on the portfolio. This might include, but is not limited to, UFTP implementation costs, platform integration costs, fixed operational costs, etc.
Note on Z19: Same for all congestion points except 11kV Feeder 18622.
Note on AC19: Estimated for purpose of evaluation
Note on AD19: Estimated for purpose of evaluation
Note on B37: Complete table 6 for the portfolio and services where you have indicated >0 unavailable hours in table 5.
Note on G38: Period over which the recurring unavailability applies. If the unavailability is a one-off event, enter the period as a single day
Note on I38: Day in which the recurrent unavailability occurs. If, for a given period, there are mutiple days per week, use a separate row for each day
Note on J38: Hours of recurrent unavailability
Note on K38: please use formula to show calculation
Note on G39: dd/mm/yy
Note on H39: dd/mm/yy

## Appendix 1. FSR (hidden)
Test/Trial | Area | Ref | Year | Period | Service Window | Days | # service days |  | Total # hours in the service window | Service Type | Duration (mins) | Indicative Test Windows | Start | End | Maximum Response Time | Minimum Run Time (mins) | Maximum Run Time (mins) | Recovery Time * (mins) | Ramp Down Time * (mins) | Ramp Up Time * (mins) | Estimated runs
Trial_Q_3 | St Andrews | Trial_Q_3_S_2021 | 2021 | Jul - Sep | 09:00 - 10:30 | Mon - Fri | 91 | 1.5 | 136.5 | Sustain Peak Management | 30 | N/A | 2021-07-01 | 2021-09-30 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 12
Trial_Q_3 | St Andrews | Trial_Q_3_S_2021 | 2021 | Jul - Sep | 11:00 – 13:00 | Mon - Fri | 91 | 2 | 182 | Sustain Peak Management | 30 | N/A | 2021-07-01 | 2021-09-30 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | St Andrews | Trial_Q_3_S_2021 | 2021 | Jul - Sep | 15:00 - 17:00 | Mon - Fri | 91 | 2 | 182 | Sustain Peak Management | 30 | N/A | 2021-07-01 | 2021-09-30 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | St Andrews | Trial_Q_3_S_2021 | 2021 | Jul - Sep | 14:00 - 16:00 | Mon - Fri | 91 | 2 | 182 | Secure DSO Constraint Management (Pre-Fault) | 30 | N/A | 2021-07-01 | 2021-09-30 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | St Andrews | Trial_Q_3_S_2021 | 2021 | Jul - Sep | 14:00 - 16:00 | Mon - Fri | 91 | 2 | 182 | Dynamic DSO Constraint Management (post-fault) | 30 | N/A | 2021-07-01 | 2021-09-30 | 15 mins * | 15 | 60 | 30 | 30 | 15 | 15
Trial_Q_3 | Leuchar | Trial_Q_3_L_2021 | 2021 | Jul - Sep | 09:00 - 10:30 | Mon - Fri | 91 | 1.5 | 136.5 | Sustain Peak Management | 30 | N/A | 2021-07-01 | 2021-09-30 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | Leuchar | Trial_Q_3_L_2021 | 2021 | Jul - Sep | 11:00 – 13:00 | Mon - Fri | 91 | 2 | 182 | Sustain Peak Management | 30 | N/A | 2021-07-01 | 2021-09-30 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | Leuchar | Trial_Q_3_L_2021 | 2021 | Jul - Sep | 15:00 - 17:00 | Mon - Fri | 91 | 2 | 182 | Sustain Peak Management | 30 | N/A | 2021-07-01 | 2021-09-30 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | Leuchar | Trial_Q_3_L_2021 | 2021 | Jul - Sep | 14:00 - 16:00 | Mon - Fri | 91 | 2 | 182 | Secure DSO Constraint Management (Pre-Fault) | 30 | N/A | 2021-07-01 | 2021-09-30 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_3 | Leuchar | Trial_Q_3_L_2021 | 2021 | Jul - Sep | 14:00 - 16:00 | Mon - Fri | 91 | 2 | 182 | Dynamic DSO Constraint Management (post-fault) | 30 | N/A | 2021-07-01 | 2021-09-30 | 15 mins * | 15 | 60 | 30 | 30 | 15 | 15
Trial_Q_4 | St Andrews | Trial_Q_4_S_2021 | 2021 | Oct - Dec | 09:00 - 10:30 | Mon - Fri | 92 | 1.5 | 138 | Sustain Peak Management | 30 | N/A | 2021-10-01 | 2021-12-31 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | St Andrews | Trial_Q_4_S_2021 | 2021 | Oct - Dec | 11:00 – 13:00 | Mon - Fri | 92 | 2 | 184 | Sustain Peak Management | 30 | N/A | 2021-10-01 | 2021-12-31 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | St Andrews | Trial_Q_4_S_2021 | 2021 | Oct - Dec | 15:00 - 17:00 | Mon - Fri | 92 | 2 | 184 | Sustain Peak Management | 30 | N/A | 2021-10-01 | 2021-12-31 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | St Andrews | Trial_Q_4_S_2021 | 2021 | Oct - Dec | 14:00 - 16:00 | Mon - Fri | 92 | 2 | 184 | Secure DSO Constraint Management (Pre-Fault) | 30 | N/A | 2021-10-01 | 2021-12-31 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | St Andrews | Trial_Q_4_S_2021 | 2021 | Oct - Dec | 14:00 - 16:00 | Mon - Fri | 92 | 2 | 184 | Dynamic DSO Constraint Management (post-fault) | 30 | N/A | 2021-10-01 | 2021-12-31 | 15 mins * | 15 | 60 | 30 | 30 | 15 | 15
Trial_Q_4 | Leuchar | Trial_Q_4_L_2021 | 2021 | Oct - Dec | 09:00 - 10:30 | Mon - Fri | 92 | 1.5 | 138 | Sustain Peak Management | 30 | N/A | 2021-10-01 | 2021-12-31 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | Leuchar | Trial_Q_4_L_2021 | 2021 | Oct - Dec | 11:00 – 13:00 | Mon - Fri | 92 | 2 | 184 | Sustain Peak Management | 30 | N/A | 2021-10-01 | 2021-12-31 | 17 hrs | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | Leuchar | Trial_Q_4_L_2021 | 2021 | Oct - Dec | 15:00 - 17:00 | Mon - Fri | 92 | 2 | 184 | Sustain Peak Management | 30 | N/A | 2021-10-01 | 2021-12-31 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | Leuchar | Trial_Q_4_L_2021 | 2021 | Oct - Dec | 14:00 - 16:00 | Mon - Fri | 92 | 2 | 184 | Secure DSO Constraint Management (Pre-Fault) | 30 | N/A | 2021-10-01 | 2021-12-31 | 30 mins | 15 | 60 | 30 | 30 | 30 | 30
Trial_Q_4 | Leuchar | Trial_Q_4_L_2021 | 2021 | Oct - Dec | 14:00 - 16:00 | Mon - Fri | 92 | 2 | 184 | Dynamic DSO Constraint Management (post-fault) | 30 | N/A | 2021-10-01 | 2021-12-31 | 15 mins * | 15 | 60 | 30 | 30 | 15 | 15
· Participants shall use the ITT response proforma to indicate the extent to which they can provide all the above services.
· The Duration column in Table 2 represents the maximum service run time for the delivery for that service within a specified service window.
· The service should be delivered from flexible units located within one or more of the postcodes described in section 1.
· The capacities reflected in this FSR have been deliberately kept low to minimise the impact of these trials on the network.
· The minimum total aggregate capacity of a group of assets that can qualify for bidding is 1KW.
· The capacity that is called upon to be 'utilized' in any given event may be lower than the total amount procured under this 'availability' contract.
· A summary overview of the services descriptions is provided in Appendix 3 of this document.
· Exact characteristics of these services will be defined in schedule 1 of the Flexibility Services Agreement (FSA) in due course. A template FSA is available on the Project FUSION website.

## Appendix 1. FSR_S
Appendix 1. Flexibility Services Requisition (FSR) - St Andrews Primary Substation
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
Pry_SA_1 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 -Sep22 | 11:00 – 14:00 | Mon - Fri | 390 | 1040 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 12 | 45
Pry_SA_2 | 2022/23 | -250 | 250 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 16 | 45
Pry_SA_3 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 12 | 45
Pry_SA_4 | 2022/23 | -250 | 250 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 16 | 45
Pry_SA_5 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 20 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.

## Appendix 2. FSR_L
Appendix 1. Flexibility Services Requisition (FSR) - Leuchars Primary Substation
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
Pry_L_1 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 -Sep22 | 11:00 – 14:00 | Mon - Fri | 390 | 1040 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 12 | 45
Pry_L_2 | 2022/23 | -250 | 250 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 16 | 45
Pry_L_3 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 12 | 45
Pry_L_4 | 2022/23 | -250 | 250 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 16 | 45
Pry_L_5 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 20 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.

## Appendix 3. FSR_S (18612)
Appendix 1. Flexibility Services Requisition (FSR) - St. Andrews 11kV Feeder (18612)
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
11kV_18612_1 | 2022/23 | -100 | 100 | N/A | N/A | Apr22 -Sep22 | 11:00 – 14:00 | Mon - Fri | 390 | 1040 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18612_2 | 2022/23 | -150 | 150 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18612_3 | 2022/23 | -100 | 100 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18612_4 | 2022/23 | -150 | 150 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18612_5 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 16 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.

## Appendix 3. FSR_S (18613)
Appendix 1. Flexibility Services Requisition (FSR) - St. Andrews 11kV Feeder (18613)
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
11kV_18613_1 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 -Sep22 | 11:00 – 14:00 | Mon - Fri | 390 | 1040 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18613_2 | 2022/23 | -100 | 100 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18613_3 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18613_4 | 2022/23 | -100 | 100 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18613_5 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 16 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.

## Appendix 3. FSR_S (18614)
Appendix 1. Flexibility Services Requisition (FSR) - St. Andrews 11kV Feeder (18614)
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
11kV_18614_1 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 -Sep22 | 11:00 – 14:00 | Mon - Fri | 390 | 1040 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18614_2 | 2022/23 | -500 | 500 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18614_3 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18614_4 | 2022/23 | -500 | 500 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18614_5 | 2022/23 | -250 | 250 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 16 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.

## Appendix 3. FSR_S (18616)
Appendix 1. Flexibility Services Requisition (FSR) - St. Andrews 11kV Feeder (18616)
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
11kV_18616_1 | 2022/23 | -100 | 100 | N/A | N/A | Apr22 -Sep22 | 11:00 – 14:00 | Mon - Fri | 390 | 1040 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18616_2 | 2022/23 | -150 | 150 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18616_3 | 2022/23 | -100 | 100 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18616_4 | 2022/23 | -150 | 150 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18616_5 | 2022/23 | -100 | 100 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 16 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.

## Appendix 3. FSR_S (18622)
Appendix 1. Flexibility Services Requisition (FSR) - St. Andrews 11kV Feeder (18622)
Flexibility Service Requisition – Flexibility availability required during the St. Andrews trials
Ref | Year | Response Type (+ is increase demand or export; - is opposite) |  |  |  | Period | Service Window | Days | Total Availability |  | Service Type | Maximum Response Time | Minimum Run Time | Maximum Run Time | Recovery Time * | Ramp Down Time * | Ramp Up Time * | Estimated Runs | Estimated Average run duration
|  | Demand | Gen. | Demand | Gen. |  |  |  | (Hrs) |  |  |  | (mins) | (mins) | (mins) | (mins) | (mins) | (No.) | (mins)
|  | (kW) | (kW) | (kVAr) | (kVAr)
11kV_18622_1 | 2022/23 | -500 | 500 | N/A | N/A | 2022-07-01 | 10:00 – 18:00 | Mon – Fri | 173 | 1148 | Sustain Peak Management | 17 hrs | 15 | 60 | 30 | 30 | 30 | 4 | 45
11kV_18622_2 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 -Sep22 (Excl. Jul22) | 11:00 – 14:00 | Mon - Fri | 325 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18622_3 | 2022/23 | -500 | 500 | N/A | N/A | Oct22 – Mar23 | 10:30 – 15:30 | Mon – Fri | 650 |  |  | 17 hrs | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18622_4 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 -Sep22 | 11:30 – 13:30 | Mon – Fri | 260 | 650 | Secure DSO Constraint Management (Pre-Fault) | 30 mins | 15 | 60 | 30 | 30 | 30 | 8 | 45
11kV_18622_5 | 2022/23 | -500 | 500 | N/A | N/A | Oct22 – Mar23 | 11:30 – 14:30 | Mon – Fri | 390 |  |  | 30 mins | 15 | 60 | 30 | 30 | 30 | 20 | 45
11kV_18622_6 | 2022/23 | -150 | 150 | N/A | N/A | Apr22 – Mar23 | 12:30 – 14:30 | Mon – Fri | 520 | 520 | Dynamic DSO Constraint Management (Post-Fault) | 15 mins * | 15 | 60 | 30 | 30 | 15 | 16 | 45
Note: In the event of any (inadvertant) discrepency between the content of this Appendix and the FSR included in the ITT Pack, the latter shall take precedence.